## Sheet1
Overview
Wire list should contain:
Cable types
Colour coded
Number every cable
Description of every cable…usage
Remember every cable in every building unique

## Sheet2
Example of horizontal runs
Cable Number |  | Telcom Outlet | Length= from IDF
Room 2294 |  | T.O. | to PCs | Switchports
| OO1 | Room 2294
| OO2 | Room 2294
| OO3 | Room 2294
| OO4 | …
| OO5 | …
| OO6 |  |  |  | These are examples of horizontal runs from wiring closet to PCs(hosts in a typical computer room)
OO7
| OO8 |  |  |  | Just copy each horizontal run from wiring closet to each computer room, like this one from wiring closet IDF 4.1 (IDF 4 on Floor 1) to room 2294. (replicate, only distance and numbers will change).
OO9
| OO10 |  |  |  | On;y show to 2/3 rooms
OO11
OO12
OO13
OO14
OO15
OO16
OO17
OO18
OO19
OO20
OO21
OO22
OO23
OO24

## Sheet3
Example of Vertical or Backbone runs
Cable No. | From | To | MMF
| 1A | 1B | OM4 | 170m |  | Example :
| 1A | 2A | OM4 | 20m | (above each other) | Wiring closets 1DF3.G, (IDF 3 on ground floor) and IDF2.1 (IDF 2 on first floor)
| 2A | 1B | OM4 | 170m
Fibre Optic cable =MDF to IDFs
OM4 or OM3
MMF 8 core fibre 4 connections